[image: image11.jpg]



Section 3

Preparing a Water Pollution Control Program (WPCP)

Water Pollution Control Program (WPCP)
START HERE…CLICK HERE TO INSERT PROJECT NAME-THEN TAB TO NEXT FIELD
Contract No. INSERT RSM CONTRACT NUMBER-THEN TAB TO NEXT FIELD.

Water Pollution Control Program (WPCP)

for
START HERE…CLICK HERE TO INSERT PROJECT NAME-THEN TAB TO NEXT FIELD
RSM Contract Number:
Insert RSM Contract Number-then TAB to next field.
Prepared for:

Insert Name of Lead Agency-then TAB.
Insert Address 1 and press ENTER to insert Address 2 or TAB to next field.
Insert City, State, ZIP-then TAB.
Insert Resident Engineer’s Name-then TAB.
Insert Resident Engineer's Telephone Number-then TAB.
Submitted by:

Insert Contractor's Company Name-then TAB.
Insert Address 1 and press ENTER for Address 2 or TAB to next field.-then TAB.
Insert City, State, ZIP-then TAB.
Insert Telephone-then TAB.
Insert Owner/Representative's Name-then TAB.
Project Site Address

Insert job site address, if any-then TAB.
Insert job site telephone number, if any-then TAB.
Contractor’s Water Pollution Control Manager

Insert WPCM's Name-then TAB.
Insert Telephone Number(s)-then TAB.
Contractor’s Designated Water Pollution Control Inspector (if different from WPCM)
Insert Inspectors Name-then TAB.
Insert Telephone Number(s)-then TAB.
WPCP Prepared by:

Insert Company Name-then TAB.
Insert Address 1 and press ENTER to insert Address 2 or TAB to next field.
Insert City, State, ZIP-then TAB.
Insert Telephone-then TAB.
Insert Name and Title of Preparer-then TAB.
WPCP Preparation Date

Insert Date
Contents


10-1Section 10
WPCP Certification and Approval


10-110.1
Contractor’s Certification and Approval by the Resident Engineer


20-1Section 20
Project Information


30-1Section 30
Pollution Sources and Control Measures


30-130.1
Soil Stabilization (Erosion Control) and Sediment Control


30-130.1.1
Soil Stabilization BMPs


30-130.1.2  Sediment Control BMPs


30-130.1.3
Tracking Control BMPs


30-130.1.4
Wind Erosion Control BMPs


30-130.2
Construction Site Management


30-130.2.1
Non-Stormwater Management BMPs


30-130.2.2
Waste Management and Materials Pollution Control BMPs


30-130.3
Water Pollution Control Drawings (WPCDs)


30-130.4
Construction BMP Maintenance, Inspection, and Repair


30-130.5
Training


40-1Section 40
Amendments


50-1Section 50
Reporting


50-150.1
Discharge Reporting



WPCP Attachments

Attachment A
Water Pollution Control Drawings

Attachment B
Maintenance, Inspection, and Repair of Construction Site BMPs
Attachment C
Stormwater Quality Construction Site Inspection Checklist

Attachment D
Amendments

Attachment E
Notice of Discharge

Attachment F
Discharge Reporting Log
Attachment G
Trained Contractor Personnel Log

INSERT ADDTIONAL ATTACHMENT REFERENCES OR DELETE THIS LINE FILLIN   \* MERGEFORMAT 
Section 10 
WPCP Certification and Approval

10.1
Contractor’s Certification and Approval by the Resident Engineer

INSTRUCTIONS

· The contractor, authorized and required by the Special Provisions to prepare and implement the WPCP, shall provide and sign the following certification:

REQUIRED TEXT

CONTRACTOR’S CERTIFICATION OF WPCP

"I certify under a penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to ensure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted, to the best of my knowledge and belief is true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations."

	
	
	

	Signature
	
	Date

	     
	
	     

	Name and Title
	
	Telephone Number


INSTRUCTIONS

If RSM is administering the project, then the RSM Engineer, as the authorized representative of the Department shall provide and sign the following certification upon approval of the WPCP. 

· If a Local Agency is administering the project, then both the Local Agency Resident Engineer and the RSM Oversight Engineer shall provide and sign the following certification upon approval of the WPCP.

Is a Local Agency / Private Entity administering the project?

[image: image1.wmf]Yes

[image: image2.wmf]No

  

REQUIRED TEXT WHEN RSM IS ADMINISTERING PROJECT

For Use by RSM Only

RSM RESIDENT ENGINEER'S APPROVAL OF WPCP

I, and/or personnel acting under my direction and supervision, have reviewed this WPCP and find that it meets the requirements set forth in the Special Provisions, the RSM SWPPP and WPCP Preparation Manual, and the Standard Specifications Section 7-1.01G - Water Pollution. 

	
	
	

	RSM Resident Engineer’s Signature 
	
	Date of WPCP Approval

	     
	
	     

	RSM Resident Engineer's Name (printed)
	
	RSM Resident Engineer’s Phone Number


REQUIRED TEXT WHEN LOCAL AGENCY / PRIVATE ENTITY IS ADMINISTERING PROJECT

For Use by Local Agency / Private Entity Only

LOCAL AGENCY / PRIVATE ENTITY RESIDENT ENGINEER'S APPROVAL OF WPCP

I, and/or personnel acting under my direction and supervision, have reviewed this WPCP and find that it meets the requirements set forth in the Special Provisions, the RSM SWPPP and WPCP Preparation Manual, and the Standard Specifications Section 7-1.01G - Water Pollution. 

	
	
	

	Resident Engineer’s Signature 
	
	Date of WPCP Approval

	     
	
	     

	Resident Engineer's Name (printed)
	
	Resident Engineer’s Phone Number


For Use by RSM Only

RSM OVERSIGHT ENGINEER’S CONCURENCE OF WPCP

I, and/or personnel acting under my direction and supervision, have reviewed this WPCP and concur with the Resident Engineer’s findings that it meets the requirements set forth in the Special Provisions, the RSM SWPPP and WPCP Preparation Manual, and the Standard Specifications Section 7-1.01G - Water Pollution. 

	
	
	

	RSM Oversight Engineer’s Signature 
	
	Date of WPCP Concurrence

	     
	
	     

	RSM Oversight Engineer's Name 
	
	RSM Oversight Engineer’s Phone Number


Section 20 
Project Information

INSTRUCTIONS

Provide narrative text addressing the following topics in a format that can be easily understood by a person who is not familiar with the project.

· Introduction and Project Description: 

· Provide a brief description of the project. 

· Describe the type(s) of work that will be performed.

· Provide a brief description of the project location, including descriptive items such as county, route, post mile, city, and street names.

· Describe proximity to receiving waters to which the project will discharge, including surface waters, drainage channels, and drainage systems.

· Identify drainage system owners (municipality or agency).

· Unique Site Features:

· Provide a brief description of any unique site features (water bodies, wetlands, environmentally sensitive area, endangered or protected species, etc.)

· Describe significant or high-risk activities that may impact stormwater quality.  Include any unique features or activities within or adjacent to water bodies (such as dredging, re-use of aerially deposited lead material, large excavations, or work within a water body).

· Project Schedule:  Provide a written or graphical project schedule.  A graphical schedule in the form of an image file can be copied into the form field for the graphical schedule. Alternatively the graphical schedule can be manually included in the document. The schedule shall clearly show how the rainy season relates to soil-disturbing and re-stabilization activities.  The schedule only needs to be detailed enough to show major activities sequenced with the implementation of construction site BMPs, including:

· Project start and finish dates 

· Rainy season dates

· Mobilization dates

· Mass clearing and grubbing, roadside clearing dates

· Major grading and excavation dates

· Dates for special activities named in other permits, such as Fish and Game

· Rainy season implementation schedule

· Deployment of temporary soil stabilization BMPs

· Deployment of temporary sediment control BMPs

· Deployment of non-stormwater BMPs

· Deployment of waste management and materials pollution control BMPs

· Paving, sawcutting, and any other pavement related operations

· Planned stockpiling operations

· Dates for other significant long-term operations or activities that may plan non-stormwater discharges such as dewatering, grinding, etc.

· Note: Projects located in the Lake Tahoe, Truckee River, East Fork Carson River, or West Fork Carson River Hydrologic Units, and projects above 5,000 ft in elevation in the portions of Mono County or Inyo County within the Lahontan RWQCB are not allowed to perform removal of vegetation nor disturbance of existing ground surface conditions between October 15 of each year and May 1 of the following year; except when there is an emergency situation that threatens the public health and safety, or when the project is granted a variance by the RWQCB Executive Officer.

· Pollutant Source Identification:

· Review the contract documents and associated environmental documents to determine the known site contaminants and list them in this section.

EXAMPLE

1. Introduction and Project Description

The project consists of sound wall construction, shoulder work, and PCC pavement removal and replacement along approximately 1300 feet of highway.  The project is located on northbound I-5 in Stockton (San Joaquin County), north from W. March Lane.  Project runoff is conveyed approximately 2600 feet south to the Calaveras River via a combination of RSM-owned roadside ditches and underground drainage facilities.  The Calaveras River discharges to the San Joaquin River approximately 1.9 miles downstream from I-5.  The total disturbed area is about 0.8 acres.

2. Unique Site Features:

Relative proximity to Calaveras and San Joaquin Rivers.

3. Project Schedule (graphical):

The attached project schedule shows the projected progress of the project and includes implementation of water pollution control items.

4. Potential Pollutant Sources:

The primary construction activities, related materials, and wastes that have the potential to pollute stormwater include:

a) Soil disturbing activities and resulting exposed soil areas, including minor grading along the shoulder and trenching for conduits and sound wall footings.  

b) Slurries from mortar mixing and PCC saw-cutting and placement.

c) Solid wastes from PCC demolition and removal, sound-wall construction, and form work

d) Temporary on-site storage of construction materials, including mortar mix, raw landscaping, soil stabilization materials, and treated lumber.

e) General site litter.
f)  Equipment operation and maintenance.

REQUIRED TEXT

1.
Introduction and Project Description:

     
2.
Unique Site Features:

     
3.
Project Schedule (graphical):

     
4.
Potential Pollutant Sources:

     
EXAMPLE: GRAPHICAL SCHEDULE 

The graphical Water Pollution Control Schedule is provided on the following page.

INSERT GRAPHICAL WATER POLLUTION CONTROL SCHEDULE
Section 30 
Pollution Sources and Control Measures

INSTRUCTIONS

BMP SELECTION PROCESS

· BMPs are selected to reduce or eliminate pollutants in stormwater and non-stormwater discharges associated with construction activities. Described below is the sequence of steps that shall be used to identify BMPs to be included in WPCPs.  

Step 1:
Incorporate the temporary water pollution control BMPs that are described in: 

· Contract Special Provisions;

· Contract Plans;

· Standard Plans; and

· Standard Specifications.

If the BMPs required in Step 1 are inadequate to address potential pollutants in stormwater discharges and non-stormwater discharges, then: 

Step 2:
Incorporate the temporary water pollution control BMPs using one or more of the RSM minimum requirements listed in Table 1-1 of the SWPPP/WPCP Preparation Manual.  

Step 3:
If the BMPs selected from Steps 1 and 2 are inadequate to address potential pollutants in stormwater discharges and non-stormwater discharges, then incorporate the temporary water pollution control BMPs that are described in Section 4.5 of the SWMP. For reference on these BMPs see the Construction Site Best Management Practices (BMPs) Reference Manual. 
· Show the selected BMPs on the WPCDs.  

· Complete the BMP implementation tables and descriptions in each of the following sections:

30.1
Soil Stabilization (Erosion Control) and Sediment Control

30.2
Construction Site Management
30.1
Soil Stabilization (Erosion Control) and Sediment Control

INSTRUCTIONS

· Use each of the following sections to identify erosion and sediment controls that will be implemented during the project.

30.1.1
Soil Stabilization Practices

30.1.2
Sediment Control Practices

30.1.3
Sediment Tracking Controls

30.1.4   Wind Erosion Controls

30.1.1
Soil Stabilization BMPs

INSTRUCTIONS

· Soil stabilization consists of source control measures that are designed to prevent soil particles from detaching and becoming suspended in stormwater runoff.  Soil stabilization BMPs protect the soil surface by covering and/or binding the soil particles.

· Provide a brief description of soil-disturbing activities, such as clearing and grubbing, grading, excavation, trenching, etc.  Show the limits of the soil-disturbed areas on the WPCDs.

· Complete the following BMP implementation table for temporary soil stabilization BMPs.  

· Describe the locations and scheduled installations for each selected soil stabilization BMP.

· If the project will not create disturbed soil areas, state as such and check "No" for all BMPs in the soil stabilization selection BMP implementation table and enter "N/A" as the reason not used.

EXAMPLE

The following soil stabilization BMP implementation table indicates the BMPs that shall be implemented to control erosion on the construction site. Implementation and locations of temporary soil stabilization BMPs are shown on the WPCDs in Attachment A and described in this section. The BMP working details can also be found in Attachment A of this WPCP. The following list of BMPs and narrative explain how the selected BMPs will be incorporated into the project.
Soil disturbing activities consist of minor grading along the shoulder and trenching for utilities and sound wall footings as shown on WPCD-2.  Existing vegetation will be preserved outside the immediate construction zone as shown. 

SS-1 
Scheduling 

SS-2
Preservation of Existing Vegetation

· Clearing and grubbing will be limited to the boundaries of active construction as shown on WPCD-2. Surrounding areas of existing vegetation will be protected by installing ESA fencing around the drip lines of  the trees.

SS-5
Soil Binders (Copolymer)

· BMP SS-5 was selected to minimize interference with the final (permanent) erosion control measures (decorative landscaping). Soil binders will be applied to all non-active soil disturbed areas during the rainy season in conformance with the DSA protection requirements in the Stormwater Pollution Prevention Plan/Water Pollution Control Program Preparation Manual.

REQUIRED TEXT

The following soil stabilization BMP implementation table indicates the BMPs that shall be implemented to control erosion on the construction site. Implementation and locations of temporary soil stabilization BMPs are shown on the WPCDs in Attachment A and described in this section. The BMP working details can also be found in Attachment A of this WPCP. The following list of BMPs and narrative explain how the selected BMPs will be incorporated into the project.

Temporary soil stabilization BMPs
	CONSTRUCTION BMP ID NO (1)
	BMP NAME
	MINIMUM REQUIRE-MENT (3)
	CONTRACT BID ITEM
	BMP USED
	IF NOT USED, STATE REASON

	
	
	
	
	YES
	NO
	

	SS-1
	Scheduling 
	(
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-2
	Preservation of Property/ Preservation of Existing Vegetation 
	(
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-3
	Temporary Hydraulic Mulch (Bonded Fiber Matrix) 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	
	Temporary Hydraulic Mulch (Polymer Stabilized Fiber Matrix) 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-4
	Temporary Erosion Control (With Temporary Seeding) 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-5
	Temporary Soil Stabilizer 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-6
	Temporary Erosion Control (Straw Mulch with Stabilizing Emulsion) 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-7
	Temporary Erosion Control Blanket (On Slope) 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


	
	Temporary Erosion Control Blanket (In swale or ditch)
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-7
	Temporary Cover (Plastic Covers) 
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-8
	Temporary Mulch (Wood) 
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-9
	Earth Dikes / Drainage Swales & Lined Swales
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-10
	Outlet Protection / Velocity Dissipation Devices
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-11
	Slope Drains
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SS-12
	Streambank Stabilization
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	ALTERNATIVE SOIL STABILIZATION BMPs USED(4)

[image: image3.wmf]Yes

  [image: image4.wmf]No


	IF USED, STATE REASON

	     
	     
	
	     

	     
	     
	
	     

	     
	     
	
	     

	     
	     
	
	     

	     
	     
	
	     

	Notes: 


(1) The BMP designations (SS-1, SC-3, etc.) are solely for maintaining continuity with existing RSM documents and are not provided to imply that the Construction Site BMP Reference Manual is a required contract document.

(2) 
The Contractor shall ensure implementation of one of the two measures listed or a combination thereof to achieve and maintain the contract's rainy  and non-rainy season requirements.

(3) Not all minimum requirements may be applicable to every project. Applicability to a specific project shall be determined by the Contractor and approved by the Resident Engineer.

(4) Use of alternative BMPs will require written approval by the Resident Engineer.


INSERT NARRATIVE DESCRIBING SELECTED SOIL STABILIZATION BMPs
30.1.2 Sediment Control BMPs

INSTRUCTIONS

· Sediment controls are used to complement and enhance the selected soil stabilization measures.  Sediment controls are designed to intercept runoff and capture suspended soil particles through a settlement or filtration process.

· Provide a brief description of soil-disturbed areas that will necessitate sediment control BMPs.  References to the WPCDs and/or Section 30.1.1 are often sufficient.

· Complete the following BMP implementation table for temporary sediment control BMPs.  All listed BMPs shall be considered for the project.

· Describe the locations and scheduled installations for each selected sediment control BMP. 

· Show selected BMPs on the WPCDs.

EXAMPLE 

The following sediment control BMP implementation table indicates the BMPs that shall be implemented to control sediment on the construction site. Implementation and locations of temporary sediment control BMPs are shown on the WPCDs in Attachment A and described in this section. The BMP working details can also be found in Attachment A of this WPCP. The following list of BMPs and narrative explain how the selected BMPs will be incorporated into the project.

Temporary fiber rolls will be used at the toe of slopes and as perimeter sediment controls. According to the contract special provisions, sediment controls for this project are required during the rainy season  - continuously on non-active DSAs and before rain on active DSAs. Deployment locations will be as follows:

SC-5
Temporary Fiber Rolls

· Fiber rolls will be deployed along the downstream (southern) construction site perimeter as shown on WPCD-2.  Once the drainage channel is constructed and lined, fiber rolls will be extended north, along each side of the channel.  See SC-4, Temporary Check Dam, below.

SC-4
Temporary Check Dam

· Concentrated flows will be conveyed by the drainage channel that runs north-south, adjacent to the shoulder. During channel construction, sediment control will be provided by gravel bag check dams, spaced at 30 feet. Once the channel is lined, temporary fiber rolls will be installed along the channel banks to prevent sediment from entering the channel.
REQUIRED TEXT

The following sediment control BMP implementation table indicates the BMPs that shall be implemented to control sediment on the construction site. Implementation and locations of temporary sediment control BMPs are shown on the WPCDs in Attachment A and described in this section. The BMP working details can also be found in Attachment A of this WPCP. The following list of BMPs and narrative explain how the selected BMPs will be incorporated into the project.

Temporary sediment control

	BMP NAME
	MINIMUM REQUIRE-MENT (3)
	CONTRACT BID ITEM
	BMP USED
	IF NOT USED, STATE REASON
	

	
	
	
	
	YES
	NO
	

	SC-1
	Temporary Silt Fence
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-2
	Temporary Sediment Basin
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-4
	Temporary Check Dam
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-5
	Temporary Fiber Rolls
	((2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-6
	Temporary Gravel Bag Berm
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-7
	Street Sweeping
	(
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-8
	Temporary Sandbags
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-9
	Temporary Straw Bale Barrier
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	SC-10
	Temporary Drain Inlet Protection
	(
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	ALTERNATIVE SEDIMENT CONTROL BMPs USED(4)

[image: image5.wmf]Yes

  [image: image6.wmf]No


	IF USED, STATE REASON

	     
	     
	
	     

	     
	     
	
	     

	     
	     
	
	     

	     
	     
	
	     

	     
	     
	
	     

	Notes: 


(1) The BMP designations (SS-1, SC-3, etc.) are solely for maintaining continuity with existing RSM documents and are not provided to imply that the Construction Site BMP Reference Manual is a required contract document.

(2) 
The Contractor shall ensure implementation of one of the two measures listed or a combination thereof to achieve and maintain the contract's rainy and non-rainy season requirements.

(3) 
Not all minimum requirements may be applicable to every project. Applicability to a specific project shall be determined by the Contractor and approved by the Resident Engineer. 

(4) Use of alternative BMPs will require written approval by the Resident Engineer.


INSERT NARRATIVE DESCRIBING TEMPORARY SEDIMENT CONTROL BMPs
30.1.3
Tracking Control BMPs

INSTRUCTIONS

· Refer to the following BMP implementation table for sediment tracking control BMPs. If a particular BMP will not be used or is not applicable enter a brief reason.

· Tracking controls shall be considered and implemented year round and throughout the duration of the project. Show selected sediment tracking control BMPs on the WPCDs in Attachment A.

REQUIRED TEXT

The following tracking control BMP implementation table indicates the BMPs that shall be implemented to reduce sediment tracking from the construction site onto private or public roads. Implementation and locations of tracking control BMPs are shown on the WPCDs in Attachment A and described in this section. The BMP working details can also be found in Attachment A of this WPCP.  The following list of BMPs and narrative explain how the selected BMPs will be incorporated into the project.

Temporary TRACKING control BMPs

	BMP NAME
	MINIMUM REQUIRE-MENT
	CONTRACT BID ITEM
	BMP USED
	IF NOT USED, STATE REASON
	

	
	
	
	
	YES
	NO
	

	SC-7
	Street Sweeping
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	TC-1
	Temporary Construction Entrance
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	TC-2
	Stabilized Construction Roadway
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	TC-3
	Temporary Entrance / Outlet Tire Wash
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	ALTERNATIVE TRACKING CONTROL BMPs USED(2)

[image: image7.wmf]Yes

  [image: image8.wmf]No


	IF USED, STATE REASON

	     
	     
	
	     

	     
	     
	
	     

	Notes: 


(1) The BMP designations (SS-1, SC-3, etc.) are solely for maintaining continuity with existing RSM documents and are not provided to imply that the Construction Site BMP Reference Manual is a required contract document.

(2) Use of alternative BMPs will require written approval by the Resident Engineer.


INSERT NARRATIVE DESCRIBING TRACKING CONTROL BMPs 
30.1.4
Wind Erosion Control BMPs

INSTRUCTIONS

· Refer to the following BMP implementation table for wind erosion control BMPs. If a particular BMP will not be used or is not applicable enter a brief reason.

· Provide a narrative description of wind erosion control BMPs Give a general approach on how wind erosion control BMPs will be implemented on the project to control dust during construction operations, including stockpile operations at all times. 

· If the project will not create disturbed soil areas, indicate this in the narrative description.

REQUIRED TEXT

The following wind erosion control BMP implementation table indicates the BMPs that shall be implemented to control wind erosion on the construction site. Implementation and locations of wind erosion control BMPs are shown on the WPCDs in Attachment A and/or described in this section. The BMP working details can be found in Attachment A. The following list of BMPs and narrative explain how the selected BMPs shall be incorporated into the project. 

Temporary wind erosion control

	BMP NAME
	MINIMUM REQUIRE-MENT(2)
	CONTRACT BID ITEM
	BMP USED
	IF NOT USED, STATE REASON
	

	
	
	
	
	YES
	NO
	

	WE-1
	Wind Erosion Control
	(
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	TC-1
	Temporary Construction Entrance
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	TC-2
	Stabilized Construction Roadway
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	-----
	All Soil Stabilization Measures included in Section 500.3.4
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	ALTERNATIVE WIND EROSION CONTROL BMPs USED(3

[image: image9.wmf]Yes

  [image: image10.wmf]No


	IF USED, STATE REASON

	     
	     
	
	     

	     
	     
	
	     

	Notes: 


(1) The BMP designations (SS-1, SC-3, etc.) are solely for maintaining continuity with existing RSM documents and are not provided to imply that the Construction Site BMP Reference Manual is a required contract document.

(2) 
Not all minimum requirements may be applicable to every project. Applicability to a specific project shall be determined by the Contractor and approved by the Resident Engineer.

(3) Use of alternative BMPs will require written approval by the Resident Engineer.


INSERT NARRATIVE DESCRIBING WIND EROSION CONTROL BMPs 
30.2
Construction Site Management

30.2.1
Non-Stormwater Management BMPs

INSTRUCTIONS

· Non-stormwater discharges which are not authorized under the RSM Permit or authorized under a separate NPDES permit are prohibited.  Examples of prohibited discharges common to construction activities include:

· Vehicle and equipment wash water, including concrete washout water.

· Slurries from concrete cutting and coring operations or AC grinding operations.

· Slurries from concrete or mortar mixing operations.

· Blast residue from high-pressure washing of structures or surfaces.

· Wash water from cleaning painting equipment.

· Runoff from dust control applications of water or dust palliatives.

· Sanitary and septic wastes.

· List all activities that have the potential to produce non-stormwater discharges.  (Consider dewatering operations and any construction activity that requires water use.)  Discuss planned dewatering operations with the Resident Engineer to determine possible requirement for permits and/or treatment.  Discuss how mobile operations, such as maintenance and fueling for large or stationary equipment, will be addressed.

· Use the following BMP implementation  table to select BMPs as necessary to contain, remove, and dispose potential non-stormwater discharges.

· Describe the locations and scheduled installations for each selected Non-Stormwater Management BMPs.

REQUIRED TEXT

The following BMP implementation table indicates the BMPs that have been selected to control non-stormwater pollution on the construction site.  Implementation and locations of non-stormwater control BMPs are shown on the WPCDs in Attachment A and described in this section. The BMP working details that will be adhered to are found in Attachment A of this WPCP.

CONSTRUCTION SITE MANAGEMENT
	NON-STORM WATER MANAGEMENT BMPS

	BMP No.
	BMP
	MINIMUM REQUIREMENT
	CHECK IF CONTRACT REQUIREMENT
	CHECK IF USED
	CHECK IF NOT USED
	IF NOT USED, STATE REASON

	NS-1
	Water Conservation Practices
	
	
	
	
	 

	NS-2
	Dewatering Operations
	
	
	
	
	 

	NS-3
	Paving and Grinding Operations
	
	
	
	
	 

	NS-4
	Temporary Stream Crossing
	
	
	
	
	 

	NS-5
	Clear Water Diversion
	
	
	
	
	 

	NS-6
	Illicit Discharge / Illegal Dumping Reporting
	
	
	
	
	 

	NS-7
	Potable Water / Irrigation
	
	
	
	
	 

	Vehicle and Equipment Operations
	
	
	
	
	 

	NS-8
	Vehicle and Equipment Cleaning
	
	
	
	
	 

	NS-9
	Vehicle and Equipment Fueling
	
	
	
	
	 

	NS-10
	Vehicle and Equipment Maintenance
	 
	 
	 
	 
	 


INSERT NARRATIVE DESCRIBING NON-STORM WATER MANAGEMENT POLLUTION CONTROL BMPs
30.2.2
Waste Management and Materials Pollution Control BMPs

INSTRUCTIONS

· Waste management consists of implementing procedural and structural BMPs for collecting, handling, storing and disposing of wastes generated by a construction project to prevent the release of waste materials into stormwater discharges.  Wastes are going to be generated during construction; however, the methods in which the wastes are collected, stored, and removed will determine the success of the waste management activities.  Construction site wastes can range from residues collected from non-stormwater discharges (i.e. paint removal) to general site litter and debris (i.e. empty marker paint cans).

· Material pollution control (materials handling) consist of implementing procedural and structural BMPs for handling, storing and using construction materials to prevent the release of those materials into stormwater discharges. The amount and type of construction materials to be utilized at the site will be dependent upon the type of construction and the length of the construction period.  The materials may be used continuously, such as fuel for vehicles and equipment, or the materials may be used for a discrete period, such as fertilizer for landscaping.

· Waste management and materials pollution control BMPs must be implemented to minimize stormwater contact with construction materials, wastes and service areas, and to prevent materials and wastes from being discharged off-site.

· Review project activities to identify likely construction materials and wastes.  Identify materials and wastes with special handling or disposal requirements, such as lead contaminated soils.  List anticipated materials and wastes below.

· Based on the listed materials and wastes, use the following materials handling and waste management BMP consideration checklist to select appropriate BMPs.

· Describe the locations and scheduled installations for each selected waste management and materials pollution control BMPs.  For Solid Waste Management WM-5, a list of waste disposal facilities and the type of waste to be disposed at each facility is provided.

REQUIRED TEXT

The following BMP implementation table indicates the BMPs that have been selected to control construction site wastes and materials. Implementation and locations of materials handling and waste management BMPs are shown on the WPCDs in Attachment A. The BMP working details that will be adhered to are found in Attachment A of this WPCP. The following list of BMPs and narrative explain how the selected BMPs will be incorporated into the project.

	Waste Management and Materials Pollution Control BMPs

	BMP No.
	BMP
	MINIMUM REQUIREMENT
	CHECK IF CONTRACT REQUIREMENT
	CHECK IF USED
	CHECK IF NOT USED
	IF NOT USED, STATE REASON

	WM-1
	Material Delivery and Storage
	
	
	
	
	 

	WM-2
	Material Use
	
	
	
	
	 

	WM-3
	Asphalt Concrete Stockpiles
	
	
	
	
	 

	WM-4
	Spill Prevention and Control
	
	
	
	
	 

	WM-5
	Solid Waste Management
	
	
	
	
	 

	WM-6
	Hazardous Waste Management
	
	
	
	
	 

	WM-7
	Contaminated Soil Management
	
	
	
	
	 

	WM-8
	Concrete Waste Management
	
	
	
	
	 

	WM-9
	Sanitary/Septic Waste Management
	
	
	
	
	 

	WM-10
	Liquid Waste Management
	 
	 
	 
	 
	 


INSERT NARRATIVE DESCRIBING WASTE MANAGEMENT AND MATERIALS POLLUTION CONTROL BMPs
30.3
Water Pollution Control Drawings (WPCDs)

INSTRUCTIONS

· The contractor shall include WPCDs in the WPCP to show the locations, applications, and deployment of the BMPs checked in the preceding sections.

· The WPCDs shall include one or more drawings at a scale sufficient to clearly show on-site drainage patterns and the location of erosion and sediment control BMPs.  The WPCDs shall be no smaller than the "reduced plans" (approximately 11" x 17") issued by RSM.  A sample WPCD can be referenced  in Attachment A of Appendix B of the “SWPPP and WPCP Preparation Manual.”  

· The WPCDs shall include:

· Detail sheets showing construction details for the BMPs that shall be used.

· Location sheets, usually modified layout, grading, stage construction, and/or drainage sheets, showing the locations of BMPs that will be used.  Delineation of BMPs to be implemented during project construction will be in the form of construction notes and/or symbols.

REQUIRED TEXT

The WPCDs are included as Attachment A to this Water Pollution Control Program.

30.4
Construction BMP Maintenance, Inspection, and Repair

INSTRUCTIONS

· A program for the regular inspection, maintenance, and repair of BMPs shall be included in the WPCP in Attachment B.  The contractor's attention is directed to the Contract Specifications and Special Provisions for requirements for maintenance and inspection of BMPs.

· Appendix B, Attachment B of the “SWPPP and WPCP Preparation Manual”, shows a sample Maintenance, Inspection and Repair of Construction Site BMPs form.

· At a minimum, the contractor shall inspect the site before and after storm events, and at 24-hour intervals during extended storms.  The Contract Special Provisions may require additional inspections.

· The results of the inspection and assessment shall be recorded on the Construction Site Inspection Checklist included in Appendix B, Attachment  C to the “SWPPP and WPCP Preparation Manual,” and included as Attachment C of this WPCP.

· A copy of each completed Construction Site Inspection Checklist shall be provided to the Resident Engineer within 24-hours of an inspection, and a copy included in the on-site WPCP.

· A tracking or follow-up procedure must follow any inspection that identifies deficiencies in BMPs.

REQUIRED TEXT

A completed Inspection, Maintenance, and Repair Program shall be provided in Attachment B of the WPCP.
Site inspections shall be conducted by the Contractor’s WPCM or other RSM approved 24-hour trained staff at the following minimum frequencies: 
· Prior to a forecast storm.

· After a rain event that causes runoff from the construction site.

· At 24-hour intervals during extended rain events.

· Daily inspections within the Lake Tahoe Hydrologic Unit.

· Weekly during the rainy season.

· Every 2 weeks during the non-rainy season; and

· At any other time(s) or intervals of time specified in the Contract Special Provisions.

Completed inspection checklists (Attachment C) will be submitted to the Resident Engineer within 24 hours of inspection.  Copies of the completed checklists will be kept with the WPCP.  A tracking or follow-up procedure shall follow any inspection that identifies deficiencies in BMPs.  

30.5
Training

INSTRUCTIONS

· Individuals responsible for WPCP preparation, implementation, and permit compliance are required to be trained, and the WPCP shall document all training.  This includes those personnel responsible for installation, inspection, maintenance, and repair of BMPs.  Describe the types of training that the contractor’s inspection, maintenance, and repair personnel have received or will receive that are directly related to stormwater pollution prevention.

· Training may be both formal and informal.

· Formal stormwater pollution prevention or erosion and sediment control training sessions may include certification as a Certified Professional in Erosion and Sediment Control (CPESC); workshops offered by the SWRCB, RWQCB, Community College or University of California Extension; or other locally recognized agencies or professional organizations such as the International Erosion Control Association (IECA), Association of Bay Area Governments (ABAG), Association of General Contractors (AGC), etc.  Contractors are encouraged to contact the RWQCB or the SWRCB to inquire about availability of training.

· A listing of training organizations, subject matter and classes are located at: http://www.dot.ca.gov/hq/construc/stormwater/stormwater1.html
· The Contractor’s WPCM and the WPCP preparer shall have a minimum of 24 hours (3 days) of formal stormwater pollution prevention training.

· Onsite stormwater pollution prevention training shall be conducted on an ongoing basis.

· Document informal stormwater training using the sample training log sheet provided as Attachment G.

· Document formal stormwater training by providing a list of classes and copies of class completion documentation. Documentation shall be submitted to the Resident Engineer within 24 hours of completion of training.
· Training records shall be updated, documented and reported in the WPCP quarterly.
REQUIRED TEXT

The Water Pollution Control Manager (WPCM) assigned to this project is:

Insert WPCM's Name-then TAB
Insert Telephone Number(s)-then TAB
Insert Contractor's Company Name-then TAB
Insert Address 1 then press ENTER to insert Address 2 or TAB to next field
Insert City, State, Zip-then TAB
The WPCM shall have primary responsibility and significant authority for the implementation, maintenance, inspection and amendments to the approved WPCP.  The WPCM will be available at all times throughout duration of the project.  Duties of the Contractor’s WPCM include but are not limited to:

- Ensuring full compliance with the WPCP and the Permit; and
- Implementing all elements of the WPCP.

The WPCM shall have the authority to mobilize crews in order to make immediate repairs to the water pollution control measures.

The training log showing formal and informal training of various personnel is shown in Attachment G. A copy of all training certificate(s) (e.g., RSM 24 Hour Training Class, etc.) for the WPCM and the WPCP Preparer are included in Attachment G.  Training records shall be updated, documented and reported in the WPCP quarterly. Documentation of new training shall be submitted to the Resident Engineer within 24-hours of training.
INSERT HERE ANY ADDTIONAL TEXT REGARDING TRAINING OF PERSONNEL.
This WPCP was prepared by INSERT COMPANY, NAME AND PROFESSIONAL REGISTRATION OR OTHER QUALIFICATIONS (INCLUDING INFORMATION REGARDING OTHER TRAINING COURSES, SUCH AS RSM SWPPP PREPARATION TRAINING) OF PERSON THAT PREPARED THE WPCP.
Section 40 
Amendments

INSTRUCTIONS

· The WPCP shall be amended whenever there is a change in construction or operations that may cause the discharge of significant quantities of pollutants to surface waters, ground waters, municipal storm drain systems, or when deemed necessary by the Resident Engineer.  All WPCP amendments shall be documented in letter format and include revised WPCD sheets, as appropriate.  WPCP amendments shall be certified by the contractor and require approval by the RSM or Local Agency / Private Entity Resident Engineer (and RSM Oversight Engineer if applicable).  Approved amendments shall be attached to the Contractor’s on-site WPCP in Attachment D.

· The following items will be included in the amendment, as appropriate:

· Discuss who requested the amendment.

· Describe location of proposed change.

· Describe reason for change.

· Describe the original BMP proposed, if any.

· Describe the new BMP proposed. 

· Include any revised WPCDs for detail or location changes.

· Include a copy of the Amendment Log in Attachment D.

· The certification form shall be included in Attachment D and shall be signed by the contractor and Resident Engineer (and Oversight Engineer if applicable) for each amendment. The signed forms shall be included with the Amendment.

· If RSM is administering the project, then the RSM Resident Engineer, as the authorized representative of the Department shall provide and sign the following certification.

· If a Local Agency / Private Entity is administering the project, then the Local Agency / Private Entity Resident Engineer shall sign and provide the certification form to the RSM Oversight Engineer for approval.

· The Amendment shall be documented in the following Amendment Log Table. Enter the Amendment number, date, brief description, and name of the person who prepared the Amendment in the table. Include a copy of the Amendment Log in Attachment D. 

REQUIRED TEXT

The WPCP shall be amended whenever there is a change in construction or operations that may cause the discharge of significant quantities of pollutants to surface waters, ground waters, municipal storm drain systems, or when deemed necessary by the Resident Engineer. All WPCP amendments shall be documented in letter format and include revised WPCD sheets, as appropriate. WPCP amendments shall be certified by the contractor and require approval by the RSM or Local Agency / Private Entity Resident Engineer (and RSM Oversight Engineer if applicable). Approved amendments and log shall be attached to the Contractor's on-site WPCP in Attachment D.

	Project Name:
	START HERE…CLICK HERE TO INSERT PROJECT NAME-THEN TAB TO NEXT FIELD

	

	RSM Contract Number:
	Insert RSM Contract Number-then TAB to next field.


	Amendment No.
	Date
	Brief Description of Amendment
	Prepared By

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     


Section 50 
Reporting

50.1
Discharge Reporting

INSTRUCTIONS

Discharges will be reported in writing to the Resident Engineer verbally upon discovery and in writing within 7 days (3 days for Districts 7 and 11) of occurrence or as required in the Special Provisions.  A Notice of Discharge form for reporting discharges shall be inlcuded in Attachment E. A Discharge Reporting Log shall be included in Attachment F. 

· Note:  USEPA has issued regulations that define Reportable Quantity (RQ) levels for oil and hazardous substances.  These regulations are found in the Code of Federal Regulations at 40 CFR Part 110, Part 117, or Part 302.

REQUIRED TEXT

If a discharge occurs or if the project receives a written notice or order from any regulatory agency, the contractor will immediately notify the Engineer and will file a written report to the Resident Engineer within 7 days (3 days for Districts 7 and 11) of the discharge event, notice, or order.  Corrective measures will be implemented immediately following the discharge, notice or order.  A Notice of Discharge form is provided in Attachment E. All discharges shall be documented on a Discharge Reporting Log in Attachment F.

The report to the Resident Engineer will contain the following items:

· The date, time, location, nature of operation, and type of discharge, including the cause or nature of the notice or order.

· The BMPs deployed before the discharge event, or prior to receiving notice or order.

· The date of deployment and type of BMPs deployed after the discharge event, or after receiving the notice or order, including additional BMPs installed or planned to reduce or prevent re-occurrence. 

· An implementation and maintenance schedule for any affected BMPs.

Discharges requiring reporting include:

· Stormwater from a DSA discharged to a waterway without treatment by a temporary construction BMP.

· Non-stormwater, except conditionally exempted discharges, discharged to a waterway or a storm drain system, without treatment by an approved control measure (BMP).

· Stormwater discharged to a waterway or a storm drain system where the control measures (BMPs) have been overwhelmed or not properly maintained or installed.

· Discharge of hazardous substances above the reportable quantities in 40 CFR 117.3 or 302.4.

· Stormwater runoff containing hazardous substances from spills discharged to a waterway or storm drain system.

· Discharges that may endanger health or the environment.

· Other discharge reporting as directed by the Resident Engineer.

[image: image11.jpg]
Ref: Caltrans Stormwater Quality Handbooks

Section 3
SWPPP/WPCP Preparation Manual

i of 32
November2000


WPCP February 2010

C:\Documents and Settings\myahya\Desktop\RSM WPCP_Template.docm

[image: image12.wmf]

[image: image13.png]a/ans



